OTG Intra Oral Camera

CF-683A

Operation and Installation Manual

Contents

1. Introduction………………….............................................3

1.1. Introduction of products ................................................................................................................3

1.2. Standard configuration........... ..................................................................................................... 3

1.3. Optional configuration........... ........................................................................................................3

1.4. Characteristic.....................................................................................................................3

2. Operation......................................................................4

2.1 Intra oral camera.............................................................................................................................4

3. Install software programs………………………………...…....7

4. Software Device setup…………………………………………9

5. How to solve troubles…………..………………………………10

6. Notice…………………………………………………………….....13

1. Introduction

1.1.Introduction of products

Super Cam is the newest hand-held intra oral camera from us. Its lightweight design and smooth contours make it both comfortable to hold and easy to use. Taking images with Super Cam’s integrated capture button makes video capture a simple one-step operation. And its built-in LED light source provides reliable, long-life illumination.

1.2. Standard configuration

The Super Cam system hardware consists of the following components.

| 1. Intraoral camera | 1 piece |
| --- | --- |
| 2. Camera Sheaths | 50pieces |
| 3. OTG cable | 1 piece |
| 4. USB extension cord（for OTG） | 1 piece |
| 5. AV cable | 1 piece |
| 6. AAA battery | 2 pieces |
| 7. Disk | 1 piece |

1.3. Optional configuration

| 1. Handpiece Holder | 1piece |
| --- | --- |

1.4. Characteristic

1. Using high resolution 1/4 CMOS chip

2. High resolution, High sensitivity, High performance

3. Compact Size, Easy to use and focus

4. Reliable light source with 6 pieces of white light LED

5. 2 keys function control

6. Display amazing clear images in two different viewing modes: Live and Freeze

7. Power Supply: None needed, powered through USB cable

- 8. Direct connection between camera and mobile device via USB. Fits in all Android

- system mobile devices(Smart phone and Tablet) through OTG cable,plug and play

- 9.Please note that the mobile device does not support the CPU that made by Media Tek and RockChip

10.Direct connection between camera and TV via video function, AAA battery          supplies the power to the camera.

11. Without any driver, directly connect thecomputer to use

12. Effective Pixels ( HxV ): 1200*1600

2. Operation

2.1 Intra oral camera

1. Freeze Button            2.   Power on/off and save image

- Press option 1, the images will be freezed,

- Press option 2. power on the camera and save the image ,

Wired operation sketch map.

A. Put the battery inside the camera,please note the positive and negative terminals of the battery

2．Quick disconnect for portability

the Camera’s LED light and lens

Wired operation sketch map.

A: Connect to computer with USB2.0

B: connect to the mobile and tablet PC device (only Android system which has OTG function)

C：connect with TV monitor

３. Install software programs

1)  Install computer

A．Insert the disk. Setup should start

Automatically. If it doesn’t, click Start,Run, and then enter d:\setup\setup at

The command line (if your CD drive is a Letter other than "d", use that letter

Instead)

⑴Please open “my computer” click “ DVD-RAM”

⑵Then copy the below files to your local disk

the folder content

B．The USB cable connect the computer

Connect the camera to your computer.When you do, you will receive a

Momentary message saying that Windows，Has detected new hardware

Then the computer will come out below:





Now you can enter the dental system

2） Install android system

1. Install below of the "MLG-OTG" software to your mobile phone and Tablet PC

2. After installation, will has a logo displayed on the screen as below

- How to use application

A  used with computer

a. Open the “MLG_Win USB(for PC)” folder ,

b. Double click Dental Soft Image.

c. Input the customer information ,click”Add” and “Enter”

d. Enter the Dental Software interface

The following ICONS mean:

Button 1  : take picture

Button 2  :big screen

Button 3 : delete picture

Button 4:  compare picture

e. Select the “USB video device ", you can normal take pictures

B. Use mobile phone or tablet (Limit the android)

a. Connect the camera on the mobile phone or tablet and open the camera power(The LED lamp is lit) ,then click the logo

b. it will come out below information, input customer information ,then click “Add” and “enter” to enter the syetem

c. When intra oral camera capture the images, the images will show on the mobile’s software at the same time

Note: you can creat the patient’s information and then press login

d. If you want to compare the image ,you can select the image then press the “compare”,you can see below ,if you want to delete the image ,you can press the “Delbmp” buttom.

C：connect to the TV/Monitor

5.How to solve troubles

If there are some troubles of products, Please see below special case firstly. If still can’t be solved, please contact your local dealer.

| Item | trouble states | Solutions |
| --- | --- | --- |
| 1 | the products can't be startup when open (ON/OFF)switch) | 1.check the power socket if it is ok 2.check the cable if it is connected |
| 2 | computer or TV can't reveal images | 1.check the connection between products and computer or TV if it is correct 2.check the Driver Setup if it is finished, |
| 3 | in the process of use, the image will be a little blurry | if you use it in the first time, it belongs to natural reaction. It will be better later on |
| 4 | freezing images then appears dithering | the hand shakes when uses camera to capture image, when users are skillful for use products, the phenomena can be changed |
| 5 | the images of computer or TV have spots | 1.check the screen if it has spot 2.check the lens if it has spot 3.if the spot can't be cleaned, please contact the local dealer |

6. Notice

Before each usage, check the outer surface of the products for any signs of physical damage or defect. The surface of the products should have a smooth finish, with no evidence of chipping or damage .

KNOWLEDGE OF WARNINGS AND CAUTIONS

Users must exercise every precaution to ensure personnel safety, and be familiar with the warnings

and cautions presented throughout this manual and summarized below.

CAUTION: TO REDUCE THE RISK OF ELECTRICAL SHOCK, DO NOT REMOVE THE COVER OF THE CONTROL MODULE OR POWER SUPPLY ADAPTER. THERE ARE NO USER-SERVICEABLE PARTS INSIDE. SERVICING SHOULD BE PERFORMED BY QUALIFIED DEALER SERVICE REPRESENTATIVES ONLY.CONNECTING ANY DEVICE TO THE SUPER CAMERA SYSTEM THAT DOES NOT MEET THE EQUIVALENT SAFETY REQUIREMENTS OF THE SYSTEM MAY REDUCE THE SAFETY EFFECTIVENESS OF THE SUPER CAMERA SYSTEM.

TURN OFF POWER AND UNPLUG THE SUPER CAMERA SYSTEM COMPONENTS BEFORE PERFORMING CLEANING PROCEDURES.

WARNING: TO PREVENT FIRE OR ELECTRICAL SHOCK, DO NOT EXPOSE THIS EQUIPMENT TO RAIN OR MOISTURE.

DO NOT SPRAY CLEANING LIQUIDS OR DISINFECTANTS DIRECTLY ON THE CAMERA HANDPIECE OR CONTROL MODULE. USE CARE NOT TO ALLOW LIQUIDS TO RUN INTO INTERNAL CIRCUITRY.

DO NOT WIPE THE SURFACES USING BENZINE, THINNER, ETC. AS THIS MAY DEGRADE THE FINISH.